## Slide 1
ATTOSECONDS AND OPO ---considerable impact
(
)
Electron accelerators -- Geneve on tabletop!
Attosecond x-rays in the water window – Diffraction before destruction to
acquire 3D representation of proteins
requires making single cycle IR pulses –
chirped pulse optical parametric amplifiers

## Slide 2
REQUIREMENTS FOR ATTOSECOND PULSE GENERATION:
FINAL PULSES WITH ZERO CEO AND CEP
PULSE DURATION < 50 fs
REPETITION RATE 1 kHz or more
AMPLITUDE STABILITY
STABILIZATION OF FREQUENCIES
PULSE ENERGY?

## Slide 3
A bit of pre-history
A bit of history
No longer balanced dispersion-Kerr, but huge dispersion/no Kerr
Chirped pulse amplification

## Slide 6
< 2 % shot-to-shot variation.
6
70%
SIMPLE AMPLIFIER CHAIN
3 LENS BEAM EXPANSION
Saturation? Yes for ns; NO for fs.
Below Pcr? Always – except approach of Aande Kuhn
Notes: Harmonic generation!
----- Meeting Notes (3/31/14 13:20) -----
page number! show pictures part by part
6

## Slide 7
Standard pulse amplifier chain
Notes: Harmonic generation!
----- Meeting Notes (3/31/14 13:20) -----
page number! show pictures part by part
7

## Slide 8
A BIT OF HISTORY

## Slide 9
chirped pulse optical amplifiers

## Slide 10
Stretching
From Oscillator
Into Stretcher
From Stretcher
Into Amplifier
From Amplifier
Into Compressor
From Compressor
Amplification
Compression
Generation of High Power Ultrashort Pulses
(800 nm, )
30 microns
3200 microns

## Slide 12
OSCILLATORS: SHORT PULSES REQUIRES SMALL DISPERSION/LARGE KERR EFFECT

## Slide 13
NO LONGER INFINITESIMAL CHANGE/CAVITY ROUND-TRIP
AMPLIFIERS REQUIRE HUGE DISPERSION AND NEGLIGIBLE KERR EFFECT

## Slide 14: Stretcher
Stretching causes group velocity dispersion, thereby imparting a linear chirp.
14

## Slide 15
GRATING PAIR NEGATIVE DISPERSON

## Slide 16
GRATING PAIR POSITIVE DISPERSON

## Slide 18
Gratings are expensive – one is sufficient

## Slide 19
Gratings are expensive – one is sufficient

## Slide 20: Stretcher

## Slide 21
Stretcher
p-pol
s-pol
Faraday Rotator
PBS
PBS
s-pol
p-pol
p-pol
s-pol
Regenerative Amplifier
MP Amplifier, Compressor, Target
λ/2
21
Use of Faraday Isolator as circulator

## Slide 22
HOW TO AMPLIFY THE STRETCHED PULSE?
REGENERATIVE AMPLIFIER
Typical 2 Pockel’s cells design

## Slide 26
Seed Pulses In
Amplified Pulses Out
Pockels Cell
Pulsed Pump @ 8 Hz
532 nm, 1 W
QWP
TFP
+ Lens
EM1
EM2
Flat M
Ti:Sapphire
On for about 440 ns per amplification cycle
Pockels Cell operates as a quarter wave plate with an applied voltage of around 550 V.
26
s-pol
REGENERATIVE AMPLIFIER
Single Pockel’s cell design

## Slide 27
The goal is to stop the Pockels Cell at the height of the gain shown here. This will give most of the energy to a single pulse.
27
Regenerative Amplification – Intracavity Gain

## Slide 28
This pulse has now absorbed the lion’s share of the energy available in the regenerative amplifier system.
Note the much higher scale than the pulses shown on the previous slide. Additional filtration was also added to protect the detector.
28
Single Pulse Amplification

## Slide 29
High repetition rate is a challenge

## Slide 30
REGENERATIVE
AMPLIFIER
Thermal lens
fT
fT
Major challenge: Thermal lensing.
Solution: cavity of 6 fT

## Slide 31
Bow Tie Amplifier
Ti:Sapphire
In from Regenerative Amplifier
Out to Compressor

## Slide 32
After amplification: compressor
(1 pair of gratings)

## Slide 33
Problems with inversion gain:
Spontaneous emission noise
Spectral narrowing
Possible solution:
Optical Pulse Chirped Parametric Amplifier
OPCPA

## Slide 34
LONG CRYSTALS = HIGHER CONVERSION
LONG CRYSTALS = NARROWER BANDWIDTH
Tuning the crystal length for optimum short pulse compression
The obvious solution for short pulses: short crystals? Not always!
One can use long crystals to compress pulses down
to femtoseconds.
Where does one get the bandwidth?
THE GENERATED PULSES ARE SHORTER THAN
THE FUNDAMENTAL, AND THAN THE INVERSE
BANDWIDTH OF THE SECOND HARMONIC PROCESS.
From the amplitude modulation of the pump,
as the pump is depleted at a faster rate than
the pump risetime.

## Slide 35
Motion of pulses in the frame of reference of the second harmonic
Weak pulses: the second harmonic broadens as the
overlap of the two fundamental pulses increases
Compression in SHG

## Slide 36
Motion of pulses in the frame of reference of the second harmonic
Compression in SHG
Strong pulses
The trick: sum frequency group velocity between that of fundamental o and fundamental e

## Slide 38
Find the angles? SNLO
CHIRP AMPLIFICATION

## Slide 39
There are two solutions to the narrow bandwidth
of Periodically Poled crystals:
1. Pole the crystal “non-periodically”
“ENGINEERABLE COMPRESSION OF ULTRASHORT PULSES BY USE OF
SECOND HARMONIC GENERATION IN CHIRPED-PERIOD-POLED
LITHIUM NIOBATE”, Optics Letters 22, 1341 (1997)
“SIMULTANEOUS FEMTOSECOOND-PULSE COMPRESSION AND SHG
IN APERIODICALLY POLED KTiOPO4”, Optics Letters 24, 1071 (1999)
2. Convert the spectrum piece by piece
Periodically poled
crystal of period
changing with x.
x

## Slide 40
Laser source
grating
energy
front
wavefront
f
f
B. E. Schmidt et al. Nat. Commun. 5, 3643 (2014)
FOPA: Frequency domain optical
parametric amplification (Faux-pas)
Interplay of temporal and spatial chirp, resulting in changes in wavefront shape
group delays and central wavelength.
Other solution: use many crystals for each wavelength range

## Slide 41
LASER DAMAGE
CHIRPED PULSE AMPLIFICATION
If the parametric gain is sufficiently broad for the short
pulse, it is also sufficiently broad for the dispersed pulse.
SHORT
PULSE
LINEAR
DISPERSION
(+)
GAIN
LINEAR
DISPERSION
(-)
AMPLIFIED
SHORT
PULSE
THE PARAMETRIC GAIN HAS NO ENERGY STORAGE:
THE DURATION OF HAVE TO BE MATCHED
PUMP
SIGNAL
PUMP DEPLETION: “DIP” IN PUMP.
TECHNICAL CHALLENGE: PUMP 100 ps OR LESS
SIGNAL STRETCHED TO > 100 ps.

## Slide 42
Parallel synthesis
Pro:
Shorter „beam path“
Simple narrow bandwidth mirrors
Contra:
Interferometric stability needed
Very sensitive  high rep.rate
Broad bandwidth mirrors after beam combination
Similar principle: frequency domain OPA
Synthesizer principles
Serial synthesis
Pro:
No special requirements on stability
Insensitive
Contra:
Longer „beam path“
Broad bandwidth mirrors
l
Il
D. Herrmann et al., Opt. Exp. 18, p. 18752 (2010)
  A. Harth et al. Opt. Express 20, 3076 (2012)
S.-W. Huang et al. Nat. Photon 5, 475 (2011)
C. Manzoni et al. Opt. Lett. 37, 1880 (2012)
  B. E. Schmidt et al. Nat. Commun. 5, 3643 (2014)
Notes: 42

## Slide 43
Multi-10-TW sub-5-fs Optical Parametric Synthesizer
− Relativistic intensity sub-5-femtosecond laser pulses
and their applications
Laszlo Veisz1, Daniel Rivas1, Gilad Marcus1, Xun Gu1, Daniel Cardenas1, Jiancai Xu1, Julia Mikhailova1, Alexander Buck1,2, Tibor Wittmann1, Christopher M. S. Sears1, Daniel Herrmann3, Olga Razskazovskaya2, Vladimir Pervak2, Ferenc Krausz1,2
1 Max-Planck-Institut für Quantenoptik, Hans-Kopfermann-Str. 1, 85748 Garching, Germany
2 Ludwig-Maximilians-Universität München, Am Coulombwall 1, 85748 Garching, Germany
3 Lehrstuhl für BioMolekulare Optik, Department für Physik, Ludwig-Maximilians-Universität,Oettingenstrasse 67, 80538 München, Germany
Notes: 43

## Slide 44
(b) Calculate the second order dispersion of the pair of gratings. That gives
the pulse broadening and chirp introduced by the pair of gratings.

## Slide 45
TIME
SPACE