## Slide 1
AMPLIFYING FREQUENCY COMBS/SHORT PULSES
Second harmonic compression
Negative Kerr effect
Parametric amplification
Optical Parametric Oscillator
Contrast enhancement (back to PW systems)
NON LINEARITIES FOR PULSE CONTROL
II. THE NEED TO CONTROL TIMING
I. THE NEED OF MATCHING COMPRESSOR AND STRETCHER
WHY DO WE NEED LINEAR AMPLIFICATION?

## Slide 2
WHY DO WE NEED LINEAR AMPLIFICATION?
I. THE NEED OF MATCHING COMPRESSOR AND STRETCHER

## Slide 3
GRATING PAIR NEGATIVE DISPERSON

## Slide 4
GRATING PAIR POSITIVE DISPERSON

## Slide 8
II. THE NEED TO CONTROL TIMING

## Slide 9
GROUP VELOCITY APPLIES ONLY TO LINEAR DIELECTRICS
time
Saturable absorber
time
Saturable gain
time
time

## Slide 10
Pulse velocities in uniform, isotropic saturable gain media
k = k’ – i a
Phase velocity
Group velocity?
Usually described as
Basov – Soviet Physics JETP 23:16-22 (1966)
Wrong!
Numerous “slow light” papers dedicated to this concept!
Superluminal pulse velocity in an amplifier.
Pulse generated by Q-switching: exponential rise.
Pulse front amplified, pulse tail not because of saturation or depletion.
(even with complex k!)

## Slide 17
Example of pulse velocity >> c in a fiber laser

## Slide 18
Beat note frequency vs displacement in the delay line

## Slide 20
NON LINEARITIES FOR PULSE CONTROL
Second harmonic compression
Negative Kerr effect
Parametric amplification
Optical Parametric Oscillator
Contrast enhancement (back to PW systems)

## Slide 21
LONG CRYSTALS = HIGHER CONVERSION
LONG CRYSTALS = NARROWER BANDWIDTH
Tuning the crystal length for optimum short pulse compression
The obvious solution for short pulses: short crystals? Not always!
One can use long crystals to compress pulses down
to femtoseconds.
Where does one get the bandwidth?
THE GENERATED PULSES ARE SHORTER THAN
THE FUNDAMENTAL, AND THAN THE INVERSE
BANDWIDTH OF THE SECOND HARMONIC PROCESS.
From the amplitude modulation of the pump,
as the pump is depleted at a faster rate than
the pump risetime.

## Slide 22
Motion of pulses in the frame of reference of the second harmonic
Weak pulses: the second harmonic broadens as the
overlap of the two fundamental pulses increases
Compression in SHG

## Slide 23
Motion of pulses in the frame of reference of the second harmonic
Compression in SHG
Strong pulses
The trick: sum frequency group velocity between that of fundamental o and fundamental e

## Slide 24
Time dependent SHG

## Slide 26
Motion of pulses in the frame of reference of the second harmonic
Weak pulses: the second harmonic broadens as the
overlap of the two fundamental pulses increases
Intense pulses: the overlap of the fundamental pulses remains
small, because of their depletion through efficient SHG

## Slide 29
Adjusting group velocities through energy tilt
fundamental
Second harmonic
With energy tilt
Without
energy
tilt
The lateral walkoff
can be used to adjust
the relative velocities
of the fundamental
and SHG

## Slide 30
Adjusting group velocities through energy tilt and noncolinear geometry
Type II SHG of 800 nm in BBO
q = 2o
b = 3.22o
“Pre-tilt” g = 0.62o
SF10 prism: a/b = 0.2

## Slide 32
Find the angles? SNLO
CHIRP AMPLIFICATION

## Slide 34
NON LINEARITIES FOR PULSE CONTROL
Second harmonic compression
Negative Kerr effect
Parametric amplification
Optical Parametric Oscillator
Contrast enhancement (back to PW systems)

## Slide 36
Next simplest case: SHG weak pulse vs frequency
The solution is of the form:
Integration:

## Slide 37
Second harmonic intensity versus Dk
What does it mean?
Depletion of fundamental
OPTICS LETTERS / Vol. 17, No. 1 / January 1, 1992
Depletion of fundamental
Nonlinear phase shift

## Slide 38
NON LINEARITIES FOR PULSE CONTROL
Second harmonic compression
Negative Kerr effect
Parametric amplification
Optical Parametric Oscillator
Contrast enhancement (back to PW systems)

## Slide 39
Convert the spectrum piece by piece
Periodically poled
crystal of period
changing with x.
x
SHG in periodically poled crystals
Other solution to the narrow bandwidth
of Periodically Poled crystals:

## Slide 40
Convert the spectrum piece by piece
SHG in periodically poled crystals
Other solution to the narrow bandwidth
of Periodically Poled crystals:
SHG in crystals
Periodically poled
crystal of period
changing with x.
x

## Slide 41
FOPA

## Slide 42
Laser source
grating
energy
front
wavefront
f
f
B. E. Schmidt et al. Nat. Commun. 5, 3643 (2014)
FOPA: Frequency domain optical
parametric amplification (Faux-pas)
Interplay of temporal and spatial chirp, resulting in changes in wavefront shape
group delays and central wavelength.
Other solution: use many crystals for each wavelength range