## Slide 1
Creation of free electrons
Above Threshold Ionization ATI
Tunneling
The free electrons
Recollision
re-radiation
The electron plasma
THE FREE ELECTRON

## Slide 3
Creation of free electrons
Above Threshold Ionization ATI
Tunneling
E
r
Does he bound electron absorbs preponderantly the minimum of photons necessary for the atom to be ionized or are there additional absorption of pho­tons in the continuum?
?
?

## Slide 4
Creation of free electrons by ATI
Above Threshold Ionization ATI
E
r
Does he bound electron absorbs preponderantly the minimum of photons necessary for the atom to be ionized or are there additional absorption of pho­tons in the continuum?
Kinetic energy of the ionized electron

## Slide 5
Creation of free electrons
Above Threshold Ionization ATI
V
r
Kinetic energy of the ionized electron
1.17 eV
2.34 eV
2.34 eV

## Slide 6
Grounded mesh
Shielded box at VR
Adjustable potential barrier Eb
1.17 eV
2.34 eV
2.34 eV

## Slide 7
Above Threshold Ionization ATI
V
r
Kinetic energy of
the ionized electron
Average energy of the electron in the light field
1.17 eV
2.34 eV
2.34 eV

## Slide 8
Grounded mesh
Shielded box at VR
Adjustable potential barrier Eb
1.17 eV
2.34 eV
2.34 eV
That was the instrument in 1966 --there has been some refinements since.

## Slide 9
Velocity Map Imaging (VMI)
MCP +
Phosphor
screen
Electrostatic Lenses
CCD
Window
Laser Beam
Molecular
Beam
Lens
Original design: Andre T. J. B. Eppink and David H. Parker, Rev. Sci. Instrum. 68, September 1997
Goal: mapping of all electrons (ions) of the same initial velocity vector onto the same point in the MCP plane,

## Slide 10
Figure(3): (a) Eppink’s Geometry (dimensions in mm) (b) Potential Contours [1], [2]
(b)
(a)

## Slide 11
92mm
13mm
15mm
19mm
19mm
120mm
6.5mm
20mm
37.5mm
44mm
40mm
2mm
20mm
.
-10 kV
-8238 V
-2810 V
2245 V
5000 V
0 V
(a)
(b)
1
3
2
4
5
Repeller
Electrodes
MCP
Phosphor screen

## Slide 12
E1/2 (eV1/2)
R (mm)
(b)
(a)
Position of electron on the focal plane as a function of its velocity (simulation SIMION 8.1 )
-10 kV
-8238 V
-2810 V
2245 V
5000 V
0 V

## Slide 13
8 “ CF
8” CF
8 “ CF
8 “ CF
Main
Chamber
8” CF valve
Feed trough 8”
Window - 4.5” CF
Zyla
CCD
Adaptor
8” CF to 4.5” CF
Adaptor
8” CF to ISO 100 F
Window - 4.5” CF
Laser
beam
8 “ CF
Hipace 300
12” flange
ISO 250 F
8” CF
8 “ CF
Second
chamber
Adaptor 8” CF to 4.5” CF
Hipace 1500
CF 4.5”
Ion gauge
Thermocouple Gauge 1.33” CF
Manipulator
Manipulator
8” CF
CF 4.5”
Ion gauge
Adaptor
8” CF to 4.5” CF
(top)
(bottom)

## Slide 14
Second
Chamber
Main
Chamber
Gas
Manipulator
Mirror
Manipulator
Valve
Hipace
300
Hipace 1500

## Slide 15
Above Threshold Ionization ATI
as seen by the VMI

## Slide 16
Ar 400 nm
Ar 800 nm
Multiphoton
Tunnel
ATI versus Tunnel Ionization as seen by the VMI

## Slide 17
Tunneling
Average energy of the electron in the light field
  g >> 1 : Multiphoton (ATI) regime
  g << 1 : Tunneling regime

## Slide 18
nucleus
tunnel
tunnel
Tunnel ionization
Notes: 18

## Slide 19
The Keldysh parameter

## Slide 20
The Keldysh parameter
A wrong explanation gives the correct result
You will find in respectable references that g is the ratio of the tunnel time to the light period.

## Slide 21
no return to sender
Corkum, PRL 71, 1994 (1993)
directly
to the detector
recollision
possible
recollision
After tunneling: all Newton mechanics

## Slide 22
Short and long trajectory
Notes: 22

## Slide 23
recombination  high harmonic radiation
inelastic scattering  excitation, multiple ionization
elastic scattering  laser induced electron diffraction, hot electrons
Upon recollision
Notes: 23

## Slide 25
Even a 100fs pulse has many cycles.
One attosecond pulse generated at every half cycle  attosecond pulse train!
The maximum photon energy is given by the cut-off of the harmonic plateau. This can be calculated by examining the maximum energy the ionized electron can gain in the field of the laser.
Time
Frequency
Only odd harmonics are generated

## Slide 26
Polarization dependence

## Slide 27
Polarization dependence

## Slide 28
TRAJECTORY IN CIRCULAR POLARIZATION
Polarization dependence

## Slide 29
Circular polarization:
doughnut momentum distribution.
The radius is the drift velocity
Linear polarization
Momentum distribution of electrons
in circular and linear polarization
The electron remains close to the atom

## Slide 30
What happens to the electron kicked out of the atom?
Onset of avalanche
Average kinetic energy of the electron:
The electron acquires energy from the wave, only when it collides with the atoms, when the abrupt change in the velocity direction causes the oscillation energy to go over into an energy of random translational motion.
Rate of growth of average electron energy
Time Dti to reach the ionization energy Wi.

## Slide 31
The average kinetic energy of a free electron oscillating in the laser field
To reach 12.2 eV:
Collision time 0.1 ps-1
In ps

## Slide 32
intensity 0.5 TW/cm2
we can calculate the temperature of an electron plasma in a constant field
800 nm
8
10
12
12.2 eV
14
6
4
2
0
50
150
100
200
Time (ns)
Electron Temperature (eV)
266 nm
Avalanche
breakdown
TIME TO AVALANCHE: WAVELENGTH DEPENDENCE

## Slide 33
THE BOUND ELECTRON LINEAR RESPONSE VERSUS THE ELECTRON PLASMA RESPONSE.

## Slide 34
P in phase with E but 90 degree out of phase with ??

## Slide 36
Classical light-matter interaction
Time
P
+
=
Time
Below resonance: “index of refraction”
Bound-electron: the oscillator model
Motion of the “spring” (polarization)
In phase with the force (E-field)

## Slide 37
Classical light-matter interaction
Time
P
+
=
Time
Below resonance: “index of refraction”
Time
P
+
=
Time
At resonance: “absorption”
Bound-electron: the oscillator model
Field of radiating electron

## Slide 38
Classical light-matter interaction
“Free”-electron: the Drude model (plasma)
Time
P
+
=
Time
“Negative index of refraction”
Below resonance: “index of refraction”
Time
P
+
=
Time
Time
P
+
=
Time
At resonance: “absorption”