## Slide 1
Homework 5

## Slide 2
Modes and laser output

## Slide 3
Modes and laser output
Longitudinal modes only – let us assume they are equally spaced.
Spectral Power
Frequency
D
Time
1/D
Time
1/D
t
p
(a)
(b)
(c)
Frequency
D
Power
Time
1/D
1/D
Power
Time
1/D
(a)
(b)
(c)
M
D
Spectral Power
Frequency
D
Time
1/D
Time
1/D
t
p
(a)
(b)
(c)
Frequency
D
Power
Time
1/D
1/D
Power
Time
1/D
(a)
(b)
(c)
M
D
=1/(M )
D
Random phase
In phase

## Slide 4
time
0
Electric field
amplitude
Equally spaced modes in phase,
make pulses periodic in time

## Slide 5
Modes and laser output
Longitudinal modes only – modes in phase but not equally spaced

## Slide 6
Modes and laser output
Longitudinal modes only – let us start wit narrow line gas lasers

## Slide 7
Quartz He-Ne laser from Philips

## Slide 8
Strongest transitions are at 1.5 mm and 3.39 mm. In the visible, transitions at 543.5 nm (green, measured in vacuum), 594 nm (yellow) and 612 nm (orange) exists. The typical red laser uses
the transition at 632.8 nm (measured in air).
Melles Grillot green laser with retro-reflection
Gain linewidth such that only 1 mode in the 10 cm Philips laser.
Longer lasers: a few modes beating.
Single mode by stabilization (Lamb dip)
How to align? With a He-Ne laser… Chicken and egg.

## Slide 9
Other single modes He-Ne lase: the laser gyro
Patent 1965?
Took more than 15 years to commercialize.
Why HeNe?
Inhomogeous broadeninig / no gain competition.
Dead band (injection locking)

## Slide 10
Modes and laser output
Longitudinal modes only – let us still assume they are equally spaced.
Solid state lasers
Iα / Iβ=3.7
Two modes beating
Multiple modes
They are homogeneously broadened. Therefore, if one mode growth he takes the energy from the whole line, and the laser should be single mode
Wrong
How come?

## Slide 11
Modes and laser output
Longitudinal modes only – let us still assume they are equally spaced.
Why multimode? Because of the standing waves. After one mode develops, there is still full gain at the antinodes.
Solution to make it single mode: seeding..
Example of Nd:YAG Q-switched

## Slide 12
Parenthesis on Nd:YAG

## Slide 16
Inject with a CW, single mode laser
Injection seeding to achieve single mode
J.-L. Lachambre, JQEL IEEE, 12:756 – 764, 1976
Lasing starts from spontaneous emission noise.
Any radiation of higher intensity than the spontaneous emission will be amplified and dominate.

## Slide 17
Inject with a CW, single mode laser
How to keep the cavity mode matched to the seed frequency?
Injection seeding to achieve single mode
J.-L. Lachambre, JQEL IEEE, 12:756 – 764, 1976
Match the cavity mode to the seed frequency
Reality: cavity length drifts all the time due to noise…

## Slide 18
Build-up time minimization: Use the cavity length information of previous pulse and feedback for the next pulse. Does not work at low repetition rates.
Active lock of cavity length to the seed.
How to keep the cavity mode matched to the seed frequency?
λ/4 : quarter wave-plate
λ/2: half wave-plate
P.C. : Pockels’ cell
Pol.: polarizer
PZT: piezo element
O.C: output coupler
F.R: Faraday rotater

## Slide 19
Iα / Iβ=104
“Single mode”
λ/4 : quarter wave-plate
λ/2: half wave-plate
P.C. : Pockels’ cell
Pol.: polarizer
PZT: piezo element
O.C: output coupler
F.R: Faraday rotater

## Slide 20
Injection seeding renamed “injection locking in laser gyro’s
Seeding done by the backscattering of the mirrors.

## Slide 21
MODE-LOCKING

## Slide 22
Modes and laser output
Longitudinal modes only – let us assume they are equally spaced.
Spectral Power
Frequency
D
Time
1/D
Time
1/D
t
p
(a)
(b)
(c)
Frequency
D
Power
Time
1/D
1/D
Power
Time
1/D
(a)
(b)
(c)
M
D
Spectral Power
Frequency
D
Time
1/D
Time
1/D
t
p
(a)
(b)
(c)
Frequency
D
Power
Time
1/D
1/D
Power
Time
1/D
(a)
(b)
(c)
M
D
=1/(M )
D
Random phase
In phase
MODE-LOCKING: how to put these modes in phase?

## Slide 23
MODE-LOCKING: how to put these modes in phase?
Active mode-locking: couple modes with AO modulator (frequency domain)
Active mode-locking: shutter (time domain)
Passive mode-locking: Saturable absorber (or Kerr lensing)

## Slide 25
Modes and laser output
Longitudinal modes only – modes in phase but not equally spaced

## Slide 26
Tuning the wavelength, the mode and the CEO
Kerr and

## Slide 27
Round
-trip
frequency
wavelength
MODE-LOCKED
LASER
FREQUENCY
TUNABLE
LASER
Frequency counter
700
800
900
100
200
Rep. Rate
-
101 884 000 Hz
Wavelength [nm]
FREQUENCY
COUNTER
ORTHODONTIST
SPECTROMETER
D
l
Tuned cw laser
Mode locked laser
The laser as an orthodontist

## Slide 28
FREQUENCY
Description of a mode-locked train (or frequency comb)
TIME
E
E
(CEP)
(CEP) = CARRIER TO ENVELOPE PHASE
CEP/
= CEO = CARRIER TO ENVELOPE OFFSET f0

## Slide 29
Electric field
Frequency
Dn =1/tCoherence
1/tRT
Dnb =1/t
nav
f0=
2ptRT
Djp
Why is the D(CEP) related to the
first tooth of the mode comb?
Djp
Phase between
successive
pulses:

## Slide 30
Kerr effect and dispersion leads to the nonlinear Schroedinger equation
The temporal soliton
The nonlinear Schroedinger equation leads to a soliton of order 1
The sech shaped pulse rattles back and forth in the cavity, producing a frequency comb

## Slide 31
The Kerr lens in time
n(t)
or
k(t)
E(t) = e(t)eiwt-kz
e(t,0) eik(t)d
e(t,0)
Instantaneous frequency or
Pulse temporal shape unchanged
Positive frequency sweep in the middle

## Slide 32
time
Electric field
amplitude
z = v1t
(fast)
z = v2t
(slow)
time
E(t)
z = ct
Pulse broadening, dispersion
Broadening
and
chirping
Positive dispersion creates a positive frequency sweep

## Slide 33
time
Electric field
amplitude
z = v1t
(slow)
z = v2t
(fast)
time
E(t)
z = ct
Pulse compression through chirping,
Chirping
and
compression
Positivelky chirped pulse compressed by negative dispersion

## Slide 34
PHASE MODULATION
n(t)
or
k(t)
E(t) = e(t)eiwt-kz
e(t,0) eik(t)d
d
DISPERSION
n(W)
or
k(W)
e(DW,0)
e(DW,0)e-ik(DW)z
e(t,0)

## Slide 35
Propagation in the time domain
PHASE MODULATION
n(t)
or
k(t)
E(t) = e(t)eiwt-kz
e(t,0) eik(t)d
e(t,0)

## Slide 36
DISPERSION
n(W)
or
k(W)
e(DW,0)
e(DW,0)e-ik(DW)z
Propagation in the frequency domain
Retarded frame and taking the inverse FT:

## Slide 37
PHASE MODULATION
DISPERSION

## Slide 38
Equation in the retarded frame
Characteristic field:
Characteristic time:
Normalized distance:
Solitons: solutions of the eigenvalue equation

## Slide 39
Why non-linear Schroedinger equation?
Multiply by
]

## Slide 40
Solution of the normalized NL Schroedinger equation
The standard form is:
Trial solution
In these normalized units, there is an infinite family of solutions of ``order 1'', defined as the product of peak amplitude A by pulse duration ts being unity.
But the correct “pulse area” is: